## Summary
ES26-071 Close Woirrey / Albert Road, Ramsey - Distributor Quantities Schedule
Ramsey Town Commissioners - 2 apartment blocks (B1 12 flats, B2 18 flats) - Nudura ICF - BuildEase 3D model, re-run 19.10.26
Quantities only - no prices. Ian Piercy (distributor) supplies the stock (uncut) forms incl. uncut corners, all accessories and his own alignment system; BuildEase / Nudura UK supply the PRE-CUT forms only, delivered in 40 ft containers to the Isle of Man (freight TBC). Quantities are taken from the BuildEase 3D ICF model of the planning drawings (McGarrigle Ayre 1464, rev A) and are supplied in good faith; check against the final construction issue.
Item | Supplied by | B1 | B2 | Total | Unit
Pre-cut forms (cut to the 3D model) | BuildEase / Nudura UK | 1237 | 1462 | 2699 | forms
Stock (uncut) forms incl. uncut corners | Distributor (Ian Piercy) | 669 | 1114 | 1783 | forms
Accessories (all) | Distributor (Ian Piercy) | 9738 | 12580 | 22318 | items
Alignment system | Distributor (own system) | - | -
Pre-cut pallets (40 ft containers) | BuildEase / Nudura UK | 29 | 35 | 64 | pallets
40 ft containers (pre-cut forms only) | BuildEase / Nudura UK - freight TBC | 7 | 8 | 15 | containers

## Pre-cut forms (ours)
Pre-cut forms (ours)
BuildEase / Nudura UK supply - the forms cut to the 3D model, shipped in the containers
Quantities only - no prices. Ian Piercy (distributor) supplies the stock (uncut) forms incl. uncut corners, all accessories and his own alignment system; BuildEase / Nudura UK supply the PRE-CUT forms only, delivered in 40 ft containers to the Isle of Man (freight TBC). Quantities are taken from the BuildEase 3D ICF model of the planning drawings (McGarrigle Ayre 1464, rev A) and are supplied in good faith; check against the final construction issue.
Level | SKU | Series | Form type | B1 | B2 | Total
FB | NUS-I0096-06PC | 6in Standard | Straight PC | 47 | 46 | 93
FB | NUS-IX490-06PC | 6in XR35 | 90 deg Corner PC | 5 | 3 | 8
FB | NUS-IX496-06PC | 6in XR35 | Straight PC | 34 | 44 | 78
L1 | NUS-I0090-06PC | 6in Standard | 90 deg Corner PC | 0 | 18 | 18
L1 | NUS-I0096-06PC | 6in Standard | Straight PC | 133 | 149 | 282
L1 | NUS-IX490-06PC | 6in XR35 | 90 deg Corner PC | 93 | 96 | 189
L1 | NUS-IX496-06PC | 6in XR35 | Straight PC | 104 | 136 | 240
L2 | NUS-I0096-06PC | 6in Standard | Straight PC | 128 | 126 | 254
L2 | NUS-IX490-06PC | 6in XR35 | 90 deg Corner PC | 82 | 112 | 194
L2 | NUS-IX496-06PC | 6in XR35 | Straight PC | 122 | 159 | 281
L3 | NUS-I0090-06PC | 6in Standard | 90 deg Corner PC | 7 | 0 | 7
L3 | NUS-I0096-06PC | 6in Standard | Straight PC | 237 | 243 | 480
L3 | NUS-IX490-06PC | 6in XR35 | 90 deg Corner PC | 89 | 125 | 214
L3 | NUS-IX496-06PC | 6in XR35 | Straight PC | 156 | 205 | 361
TOTAL |  |  |  | 1237 | 1462 | 2699

## Stock forms (distributor)
Stock forms (distributor)
Distributor supply - for information (incl. uncut corner forms)
Quantities only - no prices. Ian Piercy (distributor) supplies the stock (uncut) forms incl. uncut corners, all accessories and his own alignment system; BuildEase / Nudura UK supply the PRE-CUT forms only, delivered in 40 ft containers to the Isle of Man (freight TBC). Quantities are taken from the BuildEase 3D ICF model of the planning drawings (McGarrigle Ayre 1464, rev A) and are supplied in good faith; check against the final construction issue.
Level | SKU | Series | Form type | B1 | B2 | Total
FB | NUS-I0096-06 | 6in Standard | Straight | 13 | 50 | 63
FB | NUS-I0090-06 | 6in Standard | 90 deg Corner | 10 | 10 | 20
FB | NUS-IX496-06 | 6in XR35 | Straight | 27 | 33 | 60
FB | NUS-IX490-06 | 6in XR35 | 90 deg Corner | 35 | 45 | 80
L1 | NUS-I0096-06 | 6in Standard | Straight | 72 | 159 | 231
L1 | NUS-I0090-06 | 6in Standard | 90 deg Corner | 58 | 34 | 92
L1 | NUS-IX496-06 | 6in XR35 | Straight | 32 | 36 | 68
L1 | NUS-IX490-06 | 6in XR35 | 90 deg Corner | 27 | 48 | 75
L2 | NUS-I0096-06 | 6in Standard | Straight | 42 | 141 | 183
L2 | NUS-I0090-06 | 6in Standard | 90 deg Corner | 42 | 42 | 84
L2 | NUS-IX496-06 | 6in XR35 | Straight | 23 | 26 | 49
L2 | NUS-IX490-06 | 6in XR35 | 90 deg Corner | 38 | 32 | 70
L3 | NUS-I0096-06 | 6in Standard | Straight | 72 | 276 | 348
L3 | NUS-I0090-06 | 6in Standard | 90 deg Corner | 73 | 80 | 153
L3 | NUS-IX496-06 | 6in XR35 | Straight | 34 | 35 | 69
L3 | NUS-IX490-06 | 6in XR35 | 90 deg Corner | 71 | 67 | 138
TOTAL |  |  |  | 669 | 1114 | 1783

## Accessories (distributor)
Accessories
Distributor supply - for information (quantities from the 3D model per level)
Quantities only - no prices. Ian Piercy (distributor) supplies the stock (uncut) forms incl. uncut corners, all accessories and his own alignment system; BuildEase / Nudura UK supply the PRE-CUT forms only, delivered in 40 ft containers to the Isle of Man (freight TBC). Quantities are taken from the BuildEase 3D ICF model of the planning drawings (McGarrigle Ayre 1464, rev A) and are supplied in good faith; check against the final construction issue.
Level | SKU | Description | B1 | B2 | Total
FB | NUS-ABLOK-06 | Form-Lock (6in Standard) | 47 | 75 | 122
FB | NUS-ABLOK-06 | Form-Lock (6in XR35) | 71 | 88 | 159
FB | NUS-SF-BOX | Spray Foam Cans | 7 | 10 | 17
FB | NUS-ATSTP-00 | T-Form Support Straps | 56 | 76 | 132
FB | NUS-A0VJC-00 | Vertical Joint Clips | 708 | 922 | 1630
L1 | NUS-A0ECF-06 | End Caps (6in XR35) | 256 | 338 | 594
L1 | NUS-ABLOK-06 | Form-Lock (6in Standard) | 26 | 39 | 65
L1 | NUS-ABLOK-06 | Form-Lock (6in XR35) | 32 | 39 | 71
L1 | NUS-PLINT-06 | Lintel Closures (6in XR35) | 81 | 109 | 190
L1 | NUS-SF-BOX | Spray Foam Cans | 36 | 41 | 77
L1 | NUS-ATSTP-00 | T-Form Support Straps | 60 | 84 | 144
L1 | NUS-A0VJC-00 | Vertical Joint Clips | 1930 | 2404 | 4334
L2 | NUS-A0ECF-06 | End Caps (6in XR35) | 244 | 324 | 568
L2 | NUS-ABLOK-06 | Form-Lock (6in Standard) | 47 | 72 | 119
L2 | NUS-ABLOK-06 | Form-Lock (6in XR35) | 73 | 91 | 164
L2 | NUS-PLINT-06 | Lintel Closures (6in XR35) | 82 | 112 | 194
L2 | NUS-SF-BOX | Spray Foam Cans | 32 | 43 | 75
L2 | NUS-ATSTP-00 | T-Form Support Straps | 204 | 228 | 432
L2 | NUS-A0VJC-00 | Vertical Joint Clips | 1810 | 2312 | 4122
L3 | NUS-A0ECF-06 | End Caps (6in XR35) | 242 | 322 | 564
L3 | NUS-ABLOK-06 | Form-Lock (6in Standard) | 35 | 59 | 94
L3 | NUS-ABLOK-06 | Form-Lock (6in XR35) | 37 | 46 | 83
L3 | NUS-PLINT-06 | Lintel Closures (6in XR35) | 82 | 112 | 194
L3 | NUS-SF-BOX | Spray Foam Cans | 42 | 62 | 104
L3 | NUS-ATSTP-00 | T-Form Support Straps | 728 | 940 | 1668
L3 | NUS-A0VJC-00 | Vertical Joint Clips | 2770 | 3632 | 6402
TOTAL |  |  | 9738 | 12580 | 22318

## Containers
Containers - pre-cut forms only
40 ft containers to the Isle of Man (freight TBC); load plans + stack sheets in 08_Haulage\containers
Quantities only - no prices. Ian Piercy (distributor) supplies the stock (uncut) forms incl. uncut corners, all accessories and his own alignment system; BuildEase / Nudura UK supply the PRE-CUT forms only, delivered in 40 ft containers to the Isle of Man (freight TBC). Quantities are taken from the BuildEase 3D ICF model of the planning drawings (McGarrigle Ayre 1464, rev A) and are supplied in good faith; check against the final construction issue.
Block | Level | Series | Kind | Pallets | Forms
B1 | FB | 6in Std | straight | 1 | 47
B1 | FB | 6in XR35 | corner | 1 | 5
B1 | FB | 6in XR35 | straight | 1 | 34
B1 | L1 | 6in Std | straight | 3 | 133
B1 | L1 | 6in XR35 | corner | 2 | 93
B1 | L1 | 6in XR35 | straight | 3 | 104
B1 | L2 | 6in Std | straight | 2 | 128
B1 | L2 | 6in XR35 | corner | 2 | 82
B1 | L2 | 6in XR35 | straight | 3 | 122
B1 | L3 | 6in Std | corner | 1 | 7
B1 | L3 | 6in Std | straight | 4 | 237
B1 | L3 | 6in XR35 | corner | 2 | 89
B1 | L3 | 6in XR35 | straight | 4 | 156
B2 | FB | 6in Std | straight | 1 | 46
B2 | FB | 6in XR35 | corner | 1 | 3
B2 | FB | 6in XR35 | straight | 2 | 44
B2 | L1 | 6in Std | corner | 1 | 18
B2 | L1 | 6in Std | straight | 3 | 149
B2 | L1 | 6in XR35 | corner | 2 | 96
B2 | L1 | 6in XR35 | straight | 4 | 136
B2 | L2 | 6in Std | straight | 2 | 126
B2 | L2 | 6in XR35 | corner | 3 | 112
B2 | L2 | 6in XR35 | straight | 4 | 159
B2 | L3 | 6in Std | straight | 4 | 243
B2 | L3 | 6in XR35 | corner | 3 | 125
B2 | L3 | 6in XR35 | straight | 5 | 205
Distributor stock NOT shipped (FULL forms left out of the containers)
B1 | FB | 6in Standard Series | corner |  | 9
B1 | FB | 6in Standard Series | straight |  | 13
B1 | FB | 6in XR35 Series | corner |  | 36
B1 | FB | 6in XR35 Series | straight |  | 27
B1 | L1 | 6in Standard Series | corner |  | 46
B1 | L1 | 6in Standard Series | straight |  | 72
B1 | L1 | 6in XR35 Series | corner |  | 39
B1 | L1 | 6in XR35 Series | straight |  | 32
B1 | L2 | 6in Standard Series | corner |  | 42
B1 | L2 | 6in Standard Series | straight |  | 42
B1 | L2 | 6in XR35 Series | corner |  | 38
B1 | L2 | 6in XR35 Series | straight |  | 23
B1 | L3 | 6in Standard Series | corner |  | 73
B1 | L3 | 6in Standard Series | straight |  | 72
B1 | L3 | 6in XR35 Series | corner |  | 71
B1 | L3 | 6in XR35 Series | straight |  | 34
B2 | FB | 6in Standard Series | corner |  | 9
B2 | FB | 6in Standard Series | straight |  | 50
B2 | FB | 6in XR35 Series | corner |  | 46
B2 | FB | 6in XR35 Series | straight |  | 33
B2 | L1 | 6in Standard Series | corner |  | 40
B2 | L1 | 6in Standard Series | straight |  | 159
B2 | L1 | 6in XR35 Series | corner |  | 42
B2 | L1 | 6in XR35 Series | straight |  | 36
B2 | L2 | 6in Standard Series | corner |  | 42
B2 | L2 | 6in Standard Series | straight |  | 141
B2 | L2 | 6in XR35 Series | corner |  | 32
B2 | L2 | 6in XR35 Series | straight |  | 26
B2 | L3 | 6in Standard Series | corner |  | 73
B2 | L3 | 6in Standard Series | straight |  | 276
B2 | L3 | 6in XR35 Series | corner |  | 74
B2 | L3 | 6in XR35 Series | straight |  | 35